Training course

POWER SYSTEM ENGINEERING, COMPUTERIZED TOOLS FOR ANALYSIS AND RELAY COORDINATION

The objective of this training course is to increase and improve participants know-how on power system engineering technical criteria, power system simulation tools, system modelling, short circuit calculation, dynamic simulation, automatic contingency analysis, and project costs calculations.

This text book was compiled and adapted from different sources as a manual hand-out for GMS Power system personnel of EDC, EDL, EVN and EGAT. Some practical exercises are included for each session.

The material can be a basic of a week-long intensive training course. It will be accompanied by presentations in MS PowerPoints and answers to practical exercises.

Instructors :

Dr. Tuan Nguyen (IED)

Mr. Daniel D’Hoop (Power Dev.)

Dr. Thanh C. Nguyen (ASPEN Inc.)

Table of contents

## Part A – Project Costs Calculation

## A1. Interest and its formulas

1. Interest

2. Interest formulas

## A2. Project costs or economic evaluation of investment proposal

1. Discount rate

2. Some economic definitions

3. Net present value (NPV)

4. Alternative methods of project evaluation

5. Issues with different methods

## Part B – Power System Engineering

## B1. Engineering technical criteria

1. Transmission planning: objective, time horizon and criteria

2. Contingencies

3. Performance requirements

4. Deterministic versus probabilistic planning

5. Probabilistic methods; Monte Carlo simulations

6. Quality of supply, Reliability criteria (SAIDI, SAIFI,…)

## B2. Power System Simulation Programmes

1. Power flow calculations

2. Optimal Power  Flow

3. The importance of dynamic simulation

4. Probabilistic techniques

5. Deterministic techniques

## B3. Short circuit calculations

1. Short circuit currents

2. Main types of short circuits

3. Consequences of short-circuits

4. Establishing short circuit current

4.1 Fault away from the generator

4.2 Fault near to the generator

5. Short circuit current calculation

Low-voltage AC installations

Radial and meshed MV and HV networks

Other methods

Basic assumptions for short circuit currents calculation

## B4. Dynamic Simulations

1. General purpose of dynamic calculations

2. The mathematic approach of dynamic calculations

3. Examples of software used for dynamic simulation

NAP

EUROSTAG

## B5. Automatic Contingency Selection

1. Contingency definition, security criteria

2. Sizing incidents

3. New approach of contingency analysis

4. Approximate Contingency Analysis: contingency filtering, ranking, screening

5. Examples of Contingency Analysis Modules in different software

#### Part C – Computerized Tools for Power System Analysis and Relay Coordination Calculation

1. Welcome

2. Graphical Interface

3. Short Circuit Calculation

4. Network Modeling

5. Relay Modeling

6. Setting Overcurrent Relays

7. Setting Distance Relays

8. Relay Coordination Checking

9. Solving The Power Flow

10. Network Modeling In Power Flow

11. Power Flow Solution Output

One-liner Exercises

Power Flow Exercises